## SEPTEMBER 04
DAILY SUMMARY OF BAND A FEEDER COMPLIANCE RECORDS
| Feeder Name | Description of Feeder Location | Name of major streets served by the Feeder | Hours of Availability of Band-A Feeders:
|  |  |  | 2024-01-09 | 2024-02-09 | 2024-03-09 | 2024-04-09 | 2024-05-09 | 2024-06-09 | 2024-07-09 | Weekly Compliance
1 | 132KV APO T/S_33KV FDR H23_PL_PL | AIRPORT | NICOMSAT, KOREAN SCHOOL, NNAMDI AZIKIWE INT'L AIRPORT, DUNAMIS CHURCH, SHOPRITE | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
2 | 132KV APO T/S_33KV FDR H5_R2_FD10 | ASOKORO | ECOWAS | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 19 | 3 Out of 4
3 | 132KV APO T/S_33KV FDR H5_R2_FD6 | ASOKORO | WORLD BANK AND SENATOR OBIORA | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 19 | 3 Out of 4
4 | 132KV APO T/S_33KV FDR H3_R3_2A | ASOKORO | NIA | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
5 | 132KV APO T/S_33KV FDR H3_R3_3A | ASOKORO | PART OF T.Y DANJUMA, ASOKORO EXTENSION, JOSE MARTI | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
6 | 132KV APO T/S_33KV FDR H3_R3_4A | ASOKORO | DE-WELLS CARLTON APARTMENT | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
7 | 132KV APO T/S_33KV FDR H5_R6_4A | ASOKORO | QUEEN ELIZABETH STREET, TITO BROS, LOIUS EDET HOUSE, COMMISSIONERS QTRS,FIRE SERVICE,WOMEN AFFAIRS, NIGER HOUSE, NCCE, JIMMY CARTER, MALCOLM FRAZER STREET, WINSTON CHURCHILL STREET, BON & STRATTON, HOS, CHIEF JUSTICE OF THE FEDERATION | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 12 | 3 Out of 4
8 | 132KV APO T/S_33KV FDR H3_R3_3B | ASOKORO | YAKUBU GOWON CREST, KANO, SOKOTO, IMO GOVT LODGE, SPDC QTRS, GADO NASKO STREET & PART OF JOSE MARTINS | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
9 | 132KV APO T/S_33KV FDR H5_R6_2B | ASOKORO | ALI AKILU STREET, QUEEN AMINA STREET, SULEIMAN BARAU STREET, IBRAHIM TAYO STREET, DSS QTR, PART OF QUEEN ELIZABETH STREET | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 12 | 3 Out of 4
10 | 132KV APO T/S_33KV FDR H5_R6_5A | ASOKORO | ASO ROCK | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 12 | 3 Out of 4
11 | 132KV APO T/S_33KV FDR H5_R7_1B | ASOKORO | NNPC FILLING STATION AND ITS ENVIRONS | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 19 | 3 Out of 4
12 | 132KV APO T/S_33KV FDR H5_R7_3A | ASOKORO | SANI ZANGO SREET, OLADUNI STREET, AYANGYKU STREET, ISMAILA STREET, GWARZO STREET, BABAGANA KINGIBE STREET | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 19 | 3 Out of 4
13 | 132KV APO T/S_33KV FDR H5_R7_4A | ASOKORO | NASIRU ELRUFAI SREET, LARABA DAGASH STREET | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 19 | 3 Out of 4
14 | 132KV APO T/S_33KV FDR H3_R4_FD18 | ASOKORO | NATIONAL ASSEMBLY COMPLEX | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
15 | 132KV APO T/S_33KV FDR H3_R4_FD27 | ASOKORO | SGF | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
16 | 132KV APO T/S_33KV FDR H3_R4_FD8 | ASOKORO | NATIONAL ASSEMBLY COMPLEX | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
17 | 132KV APO T/S_33KV FDR H3_R4_FD26 | ASOKORO | NATIONAL ASSEMBLY COMPLEX | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
18 | 132KV APO T/S_33KV FDR H3_R4_FD10 | ASOKORO | NATIONAL ASSEMBLY COMPLEX | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
19 | 132KV APO T/S_33KV FDR H3_R4_FD4 | ASOKORO | NJC, SUPREME COURT | 2024-01-09: 0; 2024-02-09: 4; 2024-03-09: 24; 2024-04-09: 24 | 2 Out of 4
20 | 132KV APO T/S_33KV FDR H3_R4_FD6 | ASOKORO | NATIONAL ASSEMBLY COMPLEX | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
21 | 132KV APO T/S_33KV FDR H3_R4_FD9 | ASOKORO | ASO ROCK | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
22 | 132KV APO T/S_33KV FDR H3_R5_1B | ASOKORO | MOGADISHU BARRACK | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
23 | 132KV APO T/S_33KV FDR H3_R5_2B | ASOKORO | DSS HQ | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
24 | 132KV APO T/S_33KV FDR H3_R5_3A | ASOKORO | COMMAND GUEST HOUSE AND NAVAL HOLDING LIMITED | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
25 | 132KV APO T/S_33KV FDR H3_R5_4B | ASOKORO | W.U BASSEY BARRACKS EXTENSION AND NIGER BARRACKS | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
26 | 132KV APO T/S_33KV FDR H3_R5_5A | ASOKORO | NAOWA SECRETARIAT, DIA AND STATE HOUSE CLINICS | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
27 | 132KV APO T/S_33KV FDR H3_R5_6B | ASOKORO | ARMY WAR COLLEGE | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
28 | 132KV CENTRAL AREA T/S_33KV FDR 6_C2_2B | MAITAMA | CUSTOM OFFICE, MURJANATU PLAZA | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
29 | 132KV CENTRAL AREA T/S_33KV FDR 6_C2_3A | MAITAMA | INEC, NEMA, DSTV, POWER HOUSE | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
30 | 132KV CENTRAL AREA T/S_33KV FDR 6_C2_4A | MAITAMA | NUC | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
31 | 132KV CENTRAL AREA T/S_33KV FDR 6_C2_5A | MAITAMA | IMANI ESTATE AND SHELL ESTATE | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
32 | 132KV CENTRAL AREA T/S_33KV FDR 6_C2_5B | MAITAMA | IMANI ESTATE & PRESIDENCY QTRS | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
33 | 132KV CENTRAL AREA T/S_33KV FDR 6_C2_6A | MAITAMA | ZAMBIA EMBASSY, A.A OIL, CONGO AND ETHIOPIAN EMBASSY | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
34 | 132KV CENTRAL AREA T/S_33KV FDR 6_C2_6B | MAITAMA | NCC AND KOREAN EMBASSY | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
35 | 132KV CENTRAL AREA T/S_33KV FDR 6_C2_8A | MAITAMA | GANA AND USMAN STREETS | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
36 | 132KV CENTRAL AREA T/S_33KV FDR 6_C2_9B | MAITAMA | CHINESE EMBASSY | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
37 | 132KV CENTRAL AREA T/S_33KV FDR 6_C4_3A | MAITAMA | EUPHRATES STREET, REAGENT SCHOOL, YORUBA MOSQUE, OAU QTR | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
38 | 132KV CENTRAL AREA T/S_33KV FDR 6_C4_3B | MAITAMA | PANAMA STREET, GANGES STREET | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
39 | 132KV CENTRAL AREA T/S_33KV FDR 6_C4_5A | MAITAMA | NILES STREET, MISSISSIPI STREET | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
40 | 132KV KATAMPE T/S_33KV WUSE II FDR_B5_1A | WUSE | ROCKVIEW HOTEL, CHELSEA HOTEL AND PMU | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
41 | 132KV KATAMPE T/S_33KV WUSE II FDR_B5_1B | WUSE | AP PLAZA, CHICKEN REPUBLIC, POLY PLAZA, EXCLUSIVE STORES | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
42 | 132KV KATAMPE T/S_33KV WUSE II FDR_B5_2A | WUSE | KODA LINK,MINISTRY OF SOLID MINERALS,GLO SWITCH YARD, CUSTOM QTRS & AL-NUR MOSQUE | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
43 | 132KV KATAMPE T/S_33KV WUSE II FDR_B5_2B | WUSE | OAU QTRS, POLY PLAZA, AP PLAZA & CHICKEN HOUSE | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
44 | 132KV KATAMPE T/S_33KV WUSE II FDR_B5_3A | WUSE | BIG BITE, LOBITO CRESCENT | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
45 | 132KV KATAMPE T/S_33KV WUSE II FDR_B5_3B | WUSE | AMIGO SUPERMART, ALBERT FURNITURE, BARCELONA HOTEL, HAMPTON APARTMENTS, DURBAN STREET, OTI CARPET, WUSE AREA OFFICE | 2024-01-09: 24; 2024-02-09: 21; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
46 | 132KV KATAMPE T/S_33KV WUSE II FDR_B52_1A | WUSE | NEMSA OFFICE & PARAKOU STREET | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 18; 2024-04-09: 24 | 3 Out of 4
47 | 132KV KATAMPE T/S_33KV WUSE II FDR_B52_1B | WUSE | MINISTER'S QUARTER MABUSHI AND ITS ENVIRONS | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
48 | 132KV KATAMPE T/S_33KV WUSE II FDR_B52_2B | WUSE | TULIP PRESS, BUCHANA STREET, TALATU ESTATE, A-CLASS HOTEL, FCDA, MAP U AND FIRST BANK | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
49 | 132KV KATAMPE T/S_33KV WUSE II FDR_B52_3A | WUSE | MONROVIA STREET, PECHEZ HOTEL, HOTEL DE HORIZON | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
50 | 132KV KATAMPE T/S_33KV WUSE II FDR_B52_3B | WUSE | DENISE HTEL, NJAMENA STREET, GOMBE JEWEL HOTEL, SIEMENS, DABRAS HOTEL, LIBREVILLE STREET, LUNGI STREET, AGAPE HOTEL, FCDA QTR, ILOBE FILLING STATION, UBA, GLO OFFICE | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
51 | 132KV KATAMPE T/S_33KV WUSE II FDR_B52_4A | WUSE | BANEX HOTEL | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
52 | 132KV KATAMPE T/S_33KV WUSE II FDR_B52_4B | WUSE | KUMASI STREET, AGADEZ STREET, TFC, PART OF DAR ES SALAAM, PART OF AMINU KANO CRESCENT | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
53 | 132KV KUBWA T/S_33KV DAM FDR_K32_FD1 | DUTSE | LOWER USUMA DAM | 2024-01-09: 24; 2024-02-09: 23; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
54 | 132KV KUBWA T/S_33KV DAM FDR_K32_FD2 | DUTSE | CAMP PUMPING AND STATION PLANT | 2024-01-09: 24; 2024-02-09: 23; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
55 | 132KV KUBWA T/S_33KV DAM FDR_K32_FD3 | DUTSE | NEW TREATMENT PLANT | 2024-01-09: 24; 2024-02-09: 23; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
56 | 132KV KATAMPE T/S_33KV MAITAMA FDR_C3_1A | MAITAMA | MAITAMA AREA OFFICE, HABIBA PLAZA, OSUN CRESCENT | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
57 | 132KV KATAMPE T/S_33KV MAITAMA FDR_C3_2A | MAITAMA | KATSINA ALA, IG HOUSE, GURARA STREET | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
58 | 132KV KATAMPE T/S_33KV MAITAMA FDR_C3_3A | MAITAMA | YOBE STREET, RIO NEGRO STREET, MAITAMA EXTENTION, ZENITH BANK | 2024-01-09: 5; 2024-02-09: 24; 2024-03-09: 17; 2024-04-09: 24 | 2 Out of 4
59 | 132KV KATAMPE T/S_33KV MAITAMA FDR_C3_5B | MAITAMA | DANUBE EXTENTION AND PART OF MAITAMA EXTENTION | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
60 | 132KV CENTRAL AREA T/S_33KV FDR 5_G2_3B | GARKI | CHINESE EMBASSY | 2024-01-09: 13; 2024-02-09: 24; 2024-03-09: 13; 2024-04-09: 10 | 1 Out of 4
61 | 132KV CENTRAL AREA T/S_33KV FDR 5_G42_FD5 | GARKI | IMO HOUSE, OWENA HOUSE, NACA, ECUMENICAL CENTRE, LABOUR HOUSE | 2024-01-09: 13; 2024-02-09: 24; 2024-03-09: 13; 2024-04-09: 10 | 1 Out of 4
62 | 132KV KATAMPE T/S_33KV 9MOBILE FDR_PL_PL | LIFECAMP | 9MOBILE | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 21; 2024-04-09: 24 | 4 Out of 4
63 | 132KV KUKWABA T/S_33KV FDR L35_PL_PL | IDU | RAILWAY STATION, EFCC HQTRS, COCA-COLA, CWAY, VERITY COURTS & GARDENS, FEDERAL MEDICAL CENTRE | 2024-01-09: 24; 2024-02-09: 23; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
64 | 132KV APO T/S_33KV FDR H1_G24_FD2 | GARKI | NATIONAL HOSPITAL | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
65 | 132KV APO T/S_33KV FDR H1_G24_FD21 | GARKI | NATIONAL HOSPITAL STAFF QTR | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
66 | 132KV APO T/S_33KV FDR H1_G24_FD5 | GARKI | EUROPEAN UNION | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
67 | 132KV APO T/S_33KV FDR H1_G24_FD6 | GARKI | OANDO FILLING STATION, THE DOME, NATIONAL PLANNING COMMISSION | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
68 | 132KV APO T/S_33KV FDR H1_G24_FDR 20 | GARKI | STREET LIGHT | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
69 | 132KV APO T/S_33KV FDR H1_G24_FDR 22 | GARKI | PAKISTAN, INDIA HIGH COMMISSION AND MALI EMBASSIES | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
70 | 132KV APO T/S_33KV FDR H1_G24_FDR 23 | GARKI | SOUTH AFRICAN, RUSSIAN EMBASSY, ECWA CHURCH, EQUITORIAL EMBASSY, DANTATA AND SAWOE. | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
71 | 132KV APO T/S_33KV FDR H1_G25_FD21 | GARKI | ENVOY HOTEL | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
72 | 132KV APO T/S_33KV FDR H1_G25_FD23 | GARKI | NNPC, CATHOLIC CHURCH, BRAZIL, KENYA AND LIBYA EMBASSIES | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
73 | 132KV APO T/S_33KV FDR H1_G25_FD3 | GARKI | TURKISH, SUDAN, EGYPT EMBASSIES | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
74 | 132KV APO T/S_33KV FDR H1_G25_FD5 | GARKI | NIGER, GHANA, UGANDA EMBASSIES | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
75 | 132KV APO T/S_33KV FDR H1_G25_FD7 | GARKI | UNITED NATION, BURKINA FASO, ZAMBIA AND CAMEROON EMBASSIES | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
76 | 132KV APO T/S_33KV FDR H11_G32_6A | GARKI | RITA LORI HOTEL, JERE STREET | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
77 | 132KV APO T/S_33KV FDR H11_G32_5A | GARKI | CBN QTR, BIRNIN KEBBI STREET, FCDA QTRS, DRUM STIX | 2024-01-09: 24; 2024-02-09: 18; 2024-03-09: 24; 2024-04-09: 24 | 3 Out of 4
78 | 132KV APO T/S_33KV FDR H11_G32_7B | GARKI | GARKI AREA OFFICE OGIDI CLOSE, TREASURY HOUSE, CBN QTR, GARKI MODERN MARKET. | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
79 | 132KV APO T/S_33KV FDR H2_G4_1A | GARKI | HAWTHORN SUITES | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 23 | 4 Out of 4
80 | 132KV APO T/S_33KV FDR H2_G4_2A | GARKI | NESRA, ARMY SECRETARIAT, AROCHUKWU STREET, OKEMESI STREET. | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 23 | 4 Out of 4
81 | 132KV APO T/S_33KV FDR H2_G4_3B | GARKI | POLICE CANTONMENT AND EFAB MALL | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 9 | 3 Out of 4
82 | 132KV APO T/S_33KV FDR H2_G4_4B | GARKI | BALARGY, CRESCENT, INTERGRITY COURT, OBANSANJO ESTATE, LILLY COURT | 2024-01-09: 12; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 23 | 3 Out of 4
83 | 132KV APO T/S_33KV FDR H2_G4_6B | GARKI | SAHAD STORES, UNITY HOUSE, LARMODE HOTEL, DAN KANN HOUSE | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 23 | 4 Out of 4
84 | 132KV APO T/S_33KV FDR H37_S26_BEHIND TRANSMISSION | APO | BEHIND TRANSMISSION OFFICE. | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 23; 2024-04-09: 24 | 4 Out of 4
85 | 132KV APO T/S_33KV FDR H37_S26_K10 | APO | AEDC REGIONAL OFFICE APO, JIMENTA FILLING STATION, ZONE C DEFENCE QUARTERS, ZONE E EXTENSION | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 23; 2024-04-09: 24 | 4 Out of 4
86 | 132KV APO T/S_33KV FDR H37_S26_PARADISE ESTATE | APO | PARADISE ESTATE | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 23; 2024-04-09: 24 | 4 Out of 4
87 | 132KV GIS DAWAKI T/S_33KV FDR D2_M42_K14 | GWARINPA | PART OF 5TH AVENUE, FOREIGN AFFAIRS QUARTERS, DIAMOND BANK, KEYSTONE BANK, ZENITH BANK, 3RD AVENUE CORNERSHOP, PRIMARY SCHOOL, MIB PLAZA, ANGLICAN CHURCH ON 3RD AVENUE | 2024-01-09: 24; 2024-02-09: 22; 2024-03-09: 24; 2024-04-09: 23 | 4 Out of 4
88 | 132KV GIS DAWAKI T/S_33KV FDR D2_M43_SETRACO | GWARINPA | 4TH AVENUE, PART OF 2ND AVENUE, SETRACO GATE AND ENVIRONS | 2024-01-09: 24; 2024-02-09: 23; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
89 | 132KV CENTRAL AREA T/S_33KV FDR 2_B33_10A | WUSE | FEDERAL SECRETARIAT | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
90 | 132KV CENTRAL AREA T/S_33KV FDR 2_B33_10B | WUSE | PPPRA | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
91 | 132KV CENTRAL AREA T/S_33KV FDR 2_B33_1B | WUSE | SHERATON HOTEL | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
92 | 132KV CENTRAL AREA T/S_33KV FDR 2_B33_4B | WUSE | NEXIM BANK | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
93 | 132KV CENTRAL AREA T/S_33KV FDR 2_B33_7A | WUSE | MTN MAST | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
94 | 132KV CENTRAL AREA T/S_33KV FDR 2_B33_9B | WUSE | TRANSCORP | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
95 | 132KV CENTRAL AREA T/S_ 33KV FDR 4_B33_3B | WUSE | TAMARA GUEST, PART OF ZONE 3, FRSC, ABACHA ESTATE, YARADUA CENTER | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
96 | 132KV CENTRAL AREA T/S_ 33KV FDR 4_B33_4A | WUSE | ENERGY COMMISSION, NATIONAL MOSQUE, FRAIZER HOTEL, GRAND SQUARE | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 10; 2024-04-09: 9 | 2 Out of 4
97 | 132KV CENTRAL AREA T/S_ 33KV FDR 4_B33_8A | WUSE | MINISTRY OF HEALTH AND EDUCATION | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
98 | 132KV KUKWABA T/S_33KV FDR L36_PL_PL | IDU | NILE UNIVERSITY, BASE UNIVERSITY | 2024-01-09: 23; 2024-02-09: 17; 2024-03-09: 24; 2024-04-09: 20 | 3 Out of 4
99 | 132KV KUKWABA T/S_33KV FDR L33_S25_STADIUM MAIN | LOKOGOMA | MKO ABIOLA STADIUM | 2024-01-09: 17; 2024-02-09: 23; 2024-03-09: 24; 2024-04-09: 17 | 2 Out of 4
100 | 132KV SULEJA T/S_33KV FIELDBASE FDR_FIELDBASE_SULEJA SMART FDR | SULEJA | LACE RESULTANT SULEIMAN BARAU STREET,O'BROWN HOTEL USMAN BABA ANYA STREET, MACK HOTEL KWAMBA, ZENITH BANK A DIVISION, SUSAN CLINIC NTA ROAD, LACE SUITES ALHASSAN BAKO ROAD, OCEANIC BAKERY, GENERAL HOSPITAL, HOSPITAL ROAD | 2024-01-09: 24; 2024-02-09: 23; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
101 | 132KV APO T/S_33KV FDR H5_R2_FD9 | ASOKORO | JULIUS NYERERE, GEN HOSPITAL ASOKORO, FHA | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 19 | 3 Out of 4
102 | 132KV APO T/S_33KV FDR H5_R2_FD17 | ASOKORO | GNASSINGBE EYADEMA & PART OF KWAME NKURUMAH | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 19 | 3 Out of 4
103 | 132KV APO T/S_33KV FDR H5_R2_FD14 | ASOKORO | KWAME NKRUMAH, NELSON MANDELA, DESMOND TUTU | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 16 | 3 Out of 4
104 | 132KV APO T/S_33KV FDR H5_R7_2A | GUZAPE | BEHIND INJECTION SUBSTATION. | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 19 | 3 Out of 4
105 | 132KV APO T/S_33KV FDR H5_R7_5B | GUZAPE | COZA CHURCH | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 19 | 3 Out of 4
106 | 132KV APO T/S_33KV FDR H3_R4_FD3 | ASOKORO/MAITAMA | NASS ANNEX, ASO DRIVE & VILLA ENVIRON, NSA, IBB GOLF CLUB. | 2024-01-09: 22; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
107 | 132KV APO T/S_33KV FDR H1_G25_FD2 | GARKI 1 | NAN, BOLINGO HOTEL, NAIC, ELIZADE & NBA | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
108 | 132KV CENTRAL AREA T/S_33KV FDR 5_G2_7A | GARKI 1 | NERC, FIRE SERVICE, POLICE FORCE CID, GATE WAY PLAZA, AFRI HOTEL & REVENUE MOBILIZATION | 2024-01-09: 13; 2024-02-09: 24; 2024-03-09: 13; 2024-04-09: 10 | 1 Out of 4
109 | 132KV CENTRAL AREA T/S_33KV FDR 5_G2_8B | GARKI 1 | DEFENCE HQ | 2024-01-09: 13; 2024-02-09: 24; 2024-03-09: 13; 2024-04-09: 10 | 1 Out of 4
110 | 132KV APO T/S_33KV FDR H2_G4_8A | GARKI 2 | PORT HARCOURT CRST, VICTORY PLAZA, TOP RANK HOTEL, ONITSHA STR. | 2024-01-09: 11; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 23 | 3 Out of 4
111 | 132KV APO T/S_33KV FDR H11_G32_3B | GARKI 2 | UBIAJA STREET, KEFFI STREET & OZUBOLU STREET | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
112 | 132KV APO T/S_33KV FDR H11_G32_2B | GARKI 2 | DSS QTRS, KALTUNGO STREET, KARAYE STREET, OKEAGBE STREET. | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
113 | 132KV APO T/S_33KV FDR H11_G32_8B | GARKI 2 | KALTUNGO STR, CBN CLINIC, GARKI MALL, EDDYVIC HOTEL, DIAMOND BANK, UBA BANK, CHRISTIAN PILGRIMS BOARD, ZARIA STR, DAMATURU CRESCENT. | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
114 | 132KV CENTRAL AREA T/S_33KV FDR 6_C2_2A | MAITAMA | AGIP OFFICE | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
115 | 132KV CENTRAL AREA T/S_33KV FDR 6_C2_7A | MAITAMA | FHA, YEDSTERAM STREET | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
116 | 132KV CENTRAL AREA T/S_33KV FDR 6_C2_7B | MAITAMA | LIMPOPO STREET & ENVIRONS | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
117 | 132KV CENTRAL AREA T/S_33KV FDR 6_C2_1B | MAITAMA | HIGH COURT, NYSC, CAC. | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 22; 2024-04-09: 24 | 4 Out of 4
118 | 132KV KATAMPE T/S_33KV WUSE II FDR_B52_2A | WUSE 2 | ALEXANDERIA STREET, VILLA U, BERGER PLAZA, BERGER PAINT OFFICE, NDJAMENA SRT. | 2024-01-09: 24; 2024-02-09: 23; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
119 | 132KV KATAMPE T/S_33KV WUSE II FDR_B5_4B | WUSE 2 | PANNIEL APARTMENT | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
120 | 132KV KATAMPE T/S_33KV WUSE II FDR_B5_4A | WUSE 2 | ECWA CHURCH, BIG BARCELONA HOTEL, AIRWAVES, POPE JOHN PAUL CENTER, YALENGA, CBN QUARTERS, AND ENVIRON, DOGARA HOUSE, SENATOR ISAH RESIDENCE. | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
121 | 132KV KATAMPE T/S_33KV MAITAMA FDR_C4_M/H | MAITAMA | BEHIND C4 INJECTION SUBSTATION, MINISTERS HILL OFF COLORADO. | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
122 | 132KV AJAOKUTA T/S_33KV STEEL_PL_PL | AJAOKUTA | STEEL PLANT COMPANY, ST. DAVID POTTER, CINAFFIN DEV LTD | 2024-01-09: 24; 2024-02-09: 21; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
123 | 132KV AJAOKUTA T/S_33KV WEST AFRICA CERAMICS_PL_PL | AJAOKUTA | CERAMICS COMPANY AJAOKUTA, WEST AFRICAN CERAMICS EXTENSION, ROYAL ENGINEERED STONES COMPANY | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
124 | 132KV AKWANGA T/S_33KV AKWANGA FDR_PL_PL | AKWANGA | BETCH BELL HOTEL, ESLA HOTEL, ANGWAN TSOKO | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
125 | 132KV KONTAGORA T/S_33KV WATERWORKS FDR_PL_PL | KONTAGORA | WATER WORKS | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
126 | 132KV LOKOJA T/S_33KV FDR 3 CBN_PL_PL | LOKOJA | CBN LOKOJA, GOVT HOUSE, WOOD PROCESSING, VALERAC COMPANY, SOTORIA HOTEL, AYONOTE HOTEL,IDRINANA HOTEL, GOLDEN LUNCH ROYAL HOTEL,SATOF HOTEL,KAROSEN HOTEL AND RIVERTON HOTELS | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 22; 2024-04-09: 19 | 3 Out of 4
127 | 132KV MINNA T/S_33KV POWERHOUSE FDR_PL_PL | MINNA | AEDC REGIONAL OFFICE, GENERAL HOSPITAL, IBB & ABDULSALAM HOUSE, ZENITH BANK | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
128 | 132KV APO T/S_33KV FDR H3_NAF VALLEY_FD2 | ASOKORO | PART OF PHASE 2 | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
129 | 132KV APO T/S_33KV FDR H3_NAF VALLEY_FD3 | ASOKORO | MAINLY PHASE 1 AND 3 | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
130 | 132KV APO T/S_33KV FDR H3_NAF VALLEY_FD4 | ASOKORO | PART OF PHASE 2 | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
131 | 132KV AJAOKUTA T/S_33KV ANYIGBA FDR_PL_PL | ANYIGBA | ANYIGBA, ABEJIKULO, !TOBE, OCHADAMU, EJULE, OFAKAGA, ANKPA, AJAKA, IDAH, DEKINA, OLAMABORO, OFU, BASSA, OMALA, | 2024-01-09: 20; 2024-02-09: 14; 2024-03-09: 24; 2024-04-09: 24 | 3 Out of 4
132 | 132KV GIS DAWAKI T/S_ 33KV FDR_M43_ADKAN | GWARINPA | CHAMBIAN PLAZA,C CLOSE,44ROAD,H-MEDICS | 2024-01-09: 24; 2024-02-09: 23; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
133 | 132KV KATAMPE T/S_33KV MBP FDR_PL_PL | MAITAMA | PALM SPRING ESTATE, SSC CONSTRUCTION, REDEEM CHURCH, SENATOR FARUK, A.A OIL, | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
134 | 132KV KATAMPE T/S_33KV MPAPE FDR_PL_PL | MPAPE | MPAPE | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
135 | 132KV APO T/S_33KV FDR H1_G22_2LEFT | GARKI | THE ENTIRE AREA 1 | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 21 | 4 Out of 4
136 | 132KV APO T/S_33KV FDR H1_G22_5&8LEFT | GARKI | SHARON HOTEL, CATHOLIC CHURCH, NGWA CLOSE, WATER BOARD, NYSC QTR | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 23; 2024-04-09: 19 | 3 Out of 4
137 | 132KV APO T/S_33KV FDR H1_G22_7LEFT | GARKI | PART OF AREA 3 & 7, RADIO HOUSE, GARKI GENERAL HOSPITAL, UTC PLAZA, | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 21 | 4 Out of 4
138 | 132KV APO T/S_33KV FDR H1_G24_FD24 | GARKI | ICPC, NNPC, JINIFA PLAZA, CHURCH GATE | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
139 | 132KV APO T/S_33KV FDR H1_PL_PL | GARKI | STREET LIGHT, UBA, HAJIA AREA 1, NO 9, EDE CLOSE, MTN MASK | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
140 | 132KV APO T/S_33KV FDR H11_PL_PL | GARKI 2 | IDEAL HOME, EMPIRE ESTATE AND MTN MASK | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
141 | 132KV APO T/S_33KV FDR H11_G32_1B | GARKI 2 | PRINTING AND MINTING QTR, DABOR MALL, GARKI OLD MARKET, HAJIA USMAN ESTATE | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
142 | 132KV APO T/S_33KV FDR H11_G32_9B | GARKI 2 | GARKI VILLAGE, GARKI CLINIC | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
143 | 132KV APO T/S_33KV FDR H2_G4_5A | GARKI AREA 11 | DUNOKOFIA STREET, FCDA SECRETARIAT, NTA HQ, AIGIS OFFICE | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 23 | 4 Out of 4
144 | 132KV APO T/S_33KV FDR H2_PL_PL | GARKI AREA 11 | CONRINTHIAN HOTEL, GRACIOUS HOTEL, WINNERS LAB, NNPC QTR, BOLTON WHITE, ONYX HOTEL | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 23 | 4 Out of 4
145 | 132KV APO T/S_33KV FDR H3_PL_PL | ASOKORO | GILMOR, CGC CONTRUCTION SITE, DANTATA YARD. BLUE ROOF PLAZA, NAF VALLEY, AIR FORCE BASE | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
146 | 132KV APO T/S_33KV FDR H37_PL_PL | APO | NIPP INJECTION S/S (APO}. | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
147 | 132KV APO T/S_33KV FDR H37_S26_TRADEMORE FD | APO | TRADERMORE ESTATE, CBN QUARTERS, PARTS OF SUNNVALE,YAYALEAHMED ESTATE, EL-RUFAI ESTATE, BRAINS & HARMMERS | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 23; 2024-04-09: 23 | 4 Out of 4
148 | 132KV APO T/S_33KV FDR H5_PL_PL | ASOKORO | CHANNELS TV, SARS OFFICE, DSS SCHOOL, DSS FCT COMMAND, WATER BOARD, KAPITAL CLUB, SUNRISE GATE | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 19 | 3 Out of 4
149 | 132KV APO T/S_33KV FDR H5_R7_4B | ASOKORO | ALEX IBRU, MBA HAMEED, YORUBA MOSQUE, BABA GANA GIJIBE | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 19 | 3 Out of 4
150 | 132KV APO T/S_33KV FDR H5_R7_6A | ASOKORO | SARK! TAFIDA, LINDA CHAULKER, TINUBU ESTATE, JEW ESTATE, LAF NWOGU STREET, AIT AND ENVIRONS. | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 19 | 3 Out of 4
151 | 132KV CENTRAL AREA T/S_33KV FDR 4_PL_PL | WUSE | GALAXY DATA CENTER, NNPC | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
152 | 132KV CENTRAL AREA T/S_33KV FDR 6_PL_PL | MAITAMA | NO POINT LOAD CUSTOMER ON 33KV | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
153 | 132KV CENTRAL AREA T/S_33KV FDR 8_M2_3B | JABI | UBITU UKIWE STR,AHMED MUSA STR | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
154 | 132KV CENTRAL AREA T/S_33KV FDR 8_M2_6A | JABI | MAGAGIPE VILAGE,JABI VILLAGE | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
155 | 132KV CENTRAL AREA T/S_33KV FDR 2_B33_6B | WUSE | EKITI HOUSE, MINISTRY OF JUSTICE, KEBBI HOUSE, OBI HOUSE, NASSARAWA HOUSE, ADAMAWA HOUSE | 2024-01-09: 20; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
156 | 132KV SULEJA T/S_33KV ABUJA STEEL FDR_PL_PL | SULEJA | ABUJA STEEL COMPLEX | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
157 | 132KV SULEJA T/S_33KV INDUSTRIAL FDR_PL_PL | SULEJA | SULEJA INDUSTRIAL. | 2024-01-09: 7; 2024-02-09: 24; 2024-03-09: 15; 2024-04-09: 24 | 2 Out of 4
158 | 132KV GWAGWALADA T/S_33KV FDR L36_PL_PL | GWAGWALADA | GWAGWALADA SUBSTATION, G AND CUSTOM | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
159 | 132KV KUKWABA T/S_33KV FDR L34_WUYE1_11A | WUYE | POLICE STATION WUYE, CATHOLIC CHURCH | 2024-01-09: 23; 2024-02-09: 18; 2024-03-09: 24; 2024-04-09: 24 | 3 Out of 4
160 | 132KV KUKWABA T/S_33KV FDR L34_WUYE1_13B | WUYE | PART OF WUYE UTRA MODERN MARKET | 2024-01-09: 23; 2024-02-09: 18; 2024-03-09: 24; 2024-04-09: 24 | 3 Out of 4
161 | 132KV KUKWABA T/S_33KV FDR L34_WUYE1_3A | WUYE | DAHiRU MUSTAFA AND ENVIRONS | 2024-01-09: 23; 2024-02-09: 18; 2024-03-09: 24; 2024-04-09: 24 | 3 Out of 4
162 | 132KV KUKWABA T/S_33KV FDR L34_WUYE1_6A | WUYE | ZARTECH COMPANY WUYE | 2024-01-09: 23; 2024-02-09: 18; 2024-03-09: 24; 2024-04-09: 24 | 3 Out of 4
163 | 132KV KUKWABA T/S_33KV FDR L34_WUYE1_6B | WUYE | HIGH GATE ESTATE | 2024-01-09: 23; 2024-02-09: 18; 2024-03-09: 24; 2024-04-09: 24 | 3 Out of 4
164 | 132KV KUKWABA T/S_33KV FDR L34_WUYE2_10B | WUYE | ETERNAL FILLING STATION, WATER BOARD | 2024-01-09: 23; 2024-02-09: 17; 2024-03-09: 24; 2024-04-09: 24 | 3 Out of 4
165 | 132KV KUKWABA T/S_33KV FDR L34_WUYE2_3A | WUYE | QUALITRENTY RESIDENCE, BACLAY RESIDENCE, SANDRY LANE APARTMENT | 2024-01-09: 23; 2024-02-09: 17; 2024-03-09: 24; 2024-04-09: 24 | 3 Out of 4
166 | 132KV KUKWABA T/S_33KV FDR L34_WUYE2_3B | WUYE | BEHIND SHAFA FILLING STATION | 2024-01-09: 23; 2024-02-09: 17; 2024-03-09: 24; 2024-04-09: 24 | 3 Out of 4
167 | 132KV KUKWABA T/S_33KV FDR L34_WUYE2_5A | WUYE | SHAFA FILLING STATION,SALEM HILL INTERNATIONAL SCHOOL, EXCLUSIVE SERENNA HOTEL | 2024-01-09: 23; 2024-02-09: 17; 2024-03-09: 24; 2024-04-09: 22 | 3 Out of 4
168 | 132KV KUKWABA T/S_33KV FDR L34_WUYE2_6B | WUYE | BACK OF MOUTAIN OF FIRE MINISTRY | 2024-01-09: 23; 2024-02-09: 17; 2024-03-09: 24; 2024-04-09: 24 | 3 Out of 4
169 | 132KV KUKWABA T/S_33KV FDR L34_WUYE2_9A | WUYE | APOSTOLIC CHURCH, CASSAVA STREET | 2024-01-09: 23; 2024-02-09: 17; 2024-03-09: 24; 2024-04-09: 24 | 3 Out of 4
170 | 132KV MINNA T/S_33KV M/KUNKELE FDR_PL_PL | MAIKUNKELE | POLICE SEC.SCHL,ABBAS FOOD COMPANY, SUPREME P/WATER AND AZMAN FARM. | 2024-01-09: 24; 2024-02-09: 18; 2024-03-09: 24; 2024-04-09: 24 | 3 Out of 4
171 | 132KV APO T/S_33KV FDR H5_R7_1A | GUZAPE | ISIAKA MOMOH STREET, JUDITH ATTAH, GAMBO JIMETA, NASIR EL RUFAI & PART OF COZA STREET | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 19 | 3 Out of 4
172 | 132KV LAFIA T/S_33KV FDR A1_PL_PL | LAFIA | CHINESE COMPANY; Multi Verse Minerals Processing Ltd, GUANGDOND Ltd | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
173 | 132KV LAFIA T/S_33KV FDR A2_PL_PL | LAFIA | TA'AL CONF HOTEL, MAIDUNAMA HOTEL, CBN | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
174 | 132KV KUBWA T/S_33KV DAM FDR_PL_PL | LOWER USUMA DAM | DSS TRAINING SCHOOL | 2024-01-09: 24; 2024-02-09: 23; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
175 | 132KV CENTRAL AREA T/S_33KV FDR 2_PL_PL | CENTRAL AREA CBD | FEDERAL HIGH COURT | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
176 | 132KV CENTRAL AREA T/S_33KV FDR 3_PL_PL | WUSE | SHOPRITE, AEDC HQ,AFRICAN DEV BANK | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
177 | 132KV CENTRAL AREA T/S_33KV FDR 5_PL_PL | CENTRAL AREA CBD/GARKI | NERC, SAHAD SUPER STORES, CBN HQ, BASSAN PLAZA, REIZ CONTINENTAL, NALADO, NATIONAL WAR COLLEGE | 2024-01-09: 13; 2024-02-09: 24; 2024-03-09: 13; 2024-04-09: 10 | 1 Out of 4
178 | 132KV SULEJA T/S_33KV FIELDBASE FDR_PL_PL | SULEJA | UD DANDADA GAS, BLOCK INDUSTRY, AHMIS & GLOBAL FILLING STATIONS, ITALIA & ABUBAKAR SS | 2024-01-09: 24; 2024-02-09: 23; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
179 | 132KV BIDA T/S_T3_BIDA_FD4 | BIDA | EDUSOKO UNIVERSITY, FM RADIO, RADIO NIGER, ASSAN MUTUM, ALHASSAN COY | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
180 | 132KV KONTAGORA T/S_33KV TOWN FDR_PL_PL | KONTAGORA | SAHARA HOTEL, RICE HOUSE, SANI BELLO, GOJE FACTORY, SARKIN DAJI HOUSE | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
181 | 132KV KUKWABA T/S_33KV FDR L34_PL_PL | WUYE/UTAKO | FAMILY WORSHIP, WONDERLAND, ETERNA FILLING STATION | 2024-01-09: 23; 2024-02-09: 18; 2024-03-09: 24; 2024-04-09: 24 | 3 Out of 4
182 | 132KV KUKWABA T/S_33KV FDR L34_WUYE2_4B | WUYE | JASPER ACADEMY, NALA PRINCESS COURT, FCHWARZMAPAPOR | 2024-01-09: 23; 2024-02-09: 17; 2024-03-09: 24; 2024-04-09: 24 | 3 Out of 4
183 | 132KV MINNA T/S_33KV NNPC FDR_PL_PL | MINNA | NNPC, STATE SEC, HOUSE OF ASSEMBLY, ARMY BARRACKS, SHELTER CLAY, IBB SPECIALIST HOSP, COE, DOKO HOTEL, DOGON-KOLI HOTEL | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
184 | 132KV APO T/S_33KV FDR H1_G24_FD7 | GARKI | MAIMUNA COMMUNICATION | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 19 | 3 Out of 4
185 | 132KV KUKWABA T/S_33KV FDR L33_S25_EYE CLINIC | LOKOGOMA | EYE CLINIC | 2024-01-09: 17; 2024-02-09: 23; 2024-03-09: 24; 2024-04-09: 17 | 2 Out of 4
186 | 132KV KUKWABA T/S_33KV FDR L33_S25_GV | LOKOGOMA | GAMES VILLAGE | 2024-01-09: 17; 2024-02-09: 23; 2024-03-09: 24; 2024-04-09: 17 | 2 Out of 4
187 | 132KV KUKWABA T/S_33KV FDR L33_S25_INDOOR | LOKOGOMA | INDOOR COMPLEX | 2024-01-09: 17; 2024-02-09: 23; 2024-03-09: 24; 2024-04-09: 17 | 2 Out of 4
188 | AJAOKUTA_CONFLUENCE_PL_PL | LOKOJA | ERO COMMUNITY, KPEKPERE COMMUNITY, JIDAN BASSA, GIMGBE, GANAJA, 500 HOUSING UNIT, COMMISSIONERS' QUARTERS, GADUMO, ANIEBO QUARTERS, OLD POLY QUARTERS, WADA FLOOD ESTATE | 2024-01-09: 18; 2024-02-09: 24; 2024-03-09: 15; 2024-04-09: 24 | 2 Out of 4
189 | AT3_H21_PL_PL | LUGBE/ KUJE | JEDO, FORTE ROYAL, BACK OF DUNAMICS, CUSTOMES QTRS, AVIATION VILLAGE PIWOYE KAPWA OK WATER AND PEGI | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
190 | AJAOKUTA_ADOGO_PL_PL | ADOGO | ADOGO TOWN, IBIYA, IZIO | 2024-01-09: 23; 2024-02-09: 23; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
191 | BIDA_NEW AGAIE_PL_PL | AGAIE | AGAIE TOWN, OLD GRA, NEW GRA, OLD UNION BANK, MARKET, EMIR PALACE, GENERAL HOSPITAL AND PRISON SERVICE. | 2024-01-09: 24; 2024-02-09: 19; 2024-03-09: 24; 2024-04-09: 24 | 3 Out of 4
192 | AT3_H1_G22_4LEFT | GARKI | PART OF AREA 3, BACK OF DUNAMIS, MALTINA DEPOT | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 21 | 4 Out of 4
193 | AT5_FDR 5_G2_7B | CENTRAL AREA | COSCHARIS MOTORS, IGI,SHIP HOUSE,CON OIL,NSITF,MAINA COURT | 2024-01-09: 13; 2024-02-09: 24; 2024-03-09: 13; 2024-04-09: 10 | 1 Out of 4
194 | GW_L34_PL_PL | UNI ABUJA | UNI ABUJA | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
195 | MINNA_MAIKUNKELE FDR_MAIKUNKELE_AIRPORT | MAIKUNKELE | AIRFORCE BASE AND AIRPORT | 2024-01-09: 24; 2024-02-09: 19; 2024-03-09: 24; 2024-04-09: 24 | 3 Out of 4
196 | KUKWABA_L33_PL_PL | KUKWABA | S25(KUKWABA) INJECTION S/S,AMERICAN INTL SCHOOL,AMERICAN EMBASSY QUARTERS,GRAND PELLA HOTEL,NNPC FILLING STATION,CHRIST EMBASSY CHURCH,GRACE VILLA,SPRING COURT,BAHAMAS ESTATE,MENS COURT,CANDILOUS HOTEL,AYUBA WABA HOUSE ETC. | 2024-01-09: 18; 2024-02-09: 23; 2024-03-09: 24; 2024-04-09: 17 | 2 Out of 4
197 | AT3_H3_R4_FD3 | ASOKORO | NASS ANNEX,ASO DRIVE & VILLA ENVI.NSA,IBB GOLF CLUB | 2024-01-09: 22; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
198 | AT4_DEIDEI FDR_PL_PL | DEIDEI | GRAND VALLEY HOTEL, CHESBORN HOTEL, AL-HALAL HOTEL,LIMS BAKERY, AHZALIX ESTATE, FO1 COMMUNITY, KUBWA EXTENSION, DISTRICT CENTRE, ARAB ROAD, RED BRICK CITY, KAGINI, KABBA, SPDC ESTATE, CUSTOM QUARTERS, FIRST BAPTIST CHURCH, NIIPCO FILLING STATION. | 2024-01-09: 23; 2024-02-09: 20; 2024-03-09: 18; 2024-04-09: 24 | 3 Out of 4
199 | AT5_FDR 8_M2_2A | JABI | SHOPRITE AND ENVIRONS | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
200 | 132KV APO T/S_33KV FDR H3_NAF VALLEY_FD6 | ASOKORO | MAINLY PHASE 2 | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
201 | AT8_AVATAR_PL_PL | KEFFI | MANGORO GOMA, KORTO | 2024-01-09: 23; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
202 | AT3_H35_PL_PL | APO/ ASOKORO | KPADUMA, KOBI AND CITY CAPE ESTATE, COMMUNICATION PROVIDER | 2024-01-09: 23; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
203 | AT8_KEFFI_PL_PL | KEFFI | GAUTA, BACK OF STADIUM, ANGWAN NEPA | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
204 | AT7_FDR 2(LAFIA)_PL_PL | AKWANGA | UBE, ANGWAN ALI, WILKO | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
205 | AT6_SULEJA TOWNSHIP_PL_PL | SULEJA | NEW GAURAKA, APC QUARTERS, WINNERS VILLAGE, STANEL OIL, ENYO FILLING STATION, LPU FILLING STATION, SEKOBIA | 2024-01-09: 23; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
206 | MINNA_BIRIGI_PL_PL | MINNA | MANDELA ROAD AND BUILDING MATERIALS MARKET | 2024-01-09: 19; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 22 | 3 Out of 4
207 | AT2_LIFECAMP FDR_PL_PL | LIFECAMP | PART OF GWARINPA, GENERAL HOSPITAL LIFE CAMP,BAINES AND HAMMERS | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 23 | 4 Out of 4
208 | AT7_FDR 3(WATERBOARD)_PL_PL | AKWANGA | OLA HOSPITAL, GONGOLA, POWER HOUSE, WATER BOARD TREAMENT PLANT | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
209 | AT5_FDR 8_PL_PL | JABI | JABI, NHIS,THISDAY NEWS PAPER PART OF UTAKO | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
210 | OKENE_OKENE FDR_PL_PL | OKENE | OKENETOWN. | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
211 | MINNA_ZARUMAI_PL_PL | MINNA | GOVT. HOUSE, F.LAYOUT, NEW HORIZEN, PART OF ANGWA RAHMA, ACHIDA HOUSE | 2024-01-09: 24; 2024-02-09: 23; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
212 | MINNA_FUT_PL_PL | MINNA | FUT, NECO | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
213 | AT2_WUSE II FDR_PL_PL | WUSE | ALAO AKALA, PRIXAIR, POLE MOUNTED, EMAB PLAZA, RCCG, OLIVER GARDEN, NEWTON PARK, GCL PLAZA, MALTIDA ROTI, FURNITURE HOUSE, 1ST FORTY, HAMPTON APARTMENTS, KCITY PLAZA, BRITISH VILLAGE, POLE MOUNTED, DALHATU ESTATE, DSS RESIDENCE, ADUVIE | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
214 | AT5_FDR 5_G2_5B | GARKI | MURG PLAZA, ARTS & CULTURE,INEC AREA 10,LOZUMBA COMPLEX | 2024-01-09: 13; 2024-02-09: 24; 2024-03-09: 13; 2024-04-09: 10 | 1 Out of 4
215 | 132KV CENTRAL AREA T/S_33KV FDR 5_ICC_FD2 | GARKI | NICON LUXURY | 2024-01-09: 13; 2024-02-09: 24; 2024-03-09: 13; 2024-04-09: 10 | 1 Out of 4
216 | AT5_FDR 8_M2_2B | JABI | KADO ESTATE AND ENVIRONS | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
217 | AT5_FDR 8_M2_1B | JABI | ALI BABA STR, PART OF UBITU UKIWE STR, ANTHONY ENAHORO STR | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 7 | 3 Out of 4
218 | AT5_FDR 8_M2_7A | JABI | EFAB ESTATE,NCC HQ AND POLARIS BANK | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
219 | AT3_H1_G22_1LEFT | GARKI | THE ENTIRE AREA 2 | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 23; 2024-04-09: 21 | 4 Out of 4
220 | AT2_MBP_C3_4B | MAITAMA | ECWA CHURCH, BIG BARCELONA HOTEL, AIRWAVES, POPE JOHN PAUL CENTER, YALENGA, CBN QUARTERS, AND ENVIRONS, DOGARA HOUSE, SENATOR ISAH RESIDENCE | 2024-01-09: 10; 2024-02-09: 24; 2024-03-09: 22; 2024-04-09: 19 | 2 Out of 4
221 | AT5_FDR 8_M2_5B | JABI | PART OF LIFE CAMP, MINISTERS QTRS LIFE CAMP,MONA GARDEN ESTATE | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
222 | ZARUMAI_ZARUMAI_11KV TYPE B | ZARUMAI | PART OF 132 AND GRA QUARTERS | 2024-01-09: 24; 2024-02-09: 23; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
223 | AT5_FDR 8_M2_3A | JABI | UMARU DIKKO STR | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
224 | AT5_FDR 5_G42_FDL1 | CENTRAL AREA | LABOUR HOUSE, LAGOS HOUSE, KATSINA HOUSE, RIVERS HOUSE, IMO HOUSE | 2024-01-09: 13; 2024-02-09: 24; 2024-03-09: 13; 2024-04-09: 10 | 1 Out of 4
225 | AT3_H5_R3_1A | ASOKORO | LAWAL UWAIS, HASSAN MUSA KATSINA , MUHAMMED ABDULAHI, MARIAM MUKTAR, PACE SETTER | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
226 | KUKWABA_L34_ WUYE2_6A | WUYE | WETLAND HOTEL, MOUNTAIN OF FIRE, VALUE MART | 2024-01-09: 23; 2024-02-09: 17; 2024-03-09: 24; 2024-04-09: 22 | 3 Out of 4
227 | MINNA_ZARUMAI_ZARUMAI_FD4 | ZARUMAI | AZHARA HOTEL | 2024-01-09: 24; 2024-02-09: 23; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
228 | AT3_H2_G32_6B | GARKI 2 | LAGOS STREET, ENUGU STREET, POLICE BARRACK, OKA AKOKO STREET, NSUKKA STREET | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
229 | KUKWABA_L34_WUYE1_5A | WUYE | SIENNA SUITE | 2024-01-09: 23; 2024-02-09: 18; 2024-03-09: 24; 2024-04-09: 24 | 3 Out of 4
230 | AT4_DAWAKI FDR_M44_FD2 | GWARIMPA | CHARLIE BOY,7TH AVENUE, RD 61,62 AND 63 | 2024-01-09: 24; 2024-02-09: 23; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
231 | AT4_BWARI FDR_PL_PL | BWARI | LIVING FAITH CHURCH, DUTSE MAKARANTA, DUTSE BOKMA, MILITARY PENSION BOARD, JIGO COMMUNITY, FEYI COMMUNITY, USHAFA, ARMY QUARTERS, SABONGARI, LAW SCHOOL, GSS DUTSE, CUSTOMARY COURT. | 2024-01-09: 24; 2024-02-09: 20; 2024-03-09: 19; 2024-04-09: 19 | 2 Out of 4
232 | AT4_KUBWA FDR_PL_PL | KUBWA | ARMY RESETTLEMENT, PAPAL GROUND, ASO GARDEN, NYDREN SUPERMARKET, BACK OF AT4, BACK OF MOBIL, ZENITH BANK AND ENVIRONMENT. | 2024-01-09: 24; 2024-02-09: 19; 2024-03-09: 16; 2024-04-09: 24 | 2 Out of 4
233 | AT4_DAWAKI FDR_PL_PL | DAWAKI/ DUTSE | DUTSE ALHAJI, CIVIL SERVICE COLLEGE, MAL GLOBAL ESTATE | 2024-01-09: 24; 2024-02-09: 21; 2024-03-09: 14; 2024-04-09: 24 | 3 Out of 4
234 | AT8_NASARAWA FDR_PL_PL | NASARAWA | FEDERAL POLYTECHNIC, TARMA, SHAGARI ROAD, NASARAWA ROAD, DOROWA VILLAGE, MAKARANTA | 2024-01-09: 24; 2024-02-09: 23; 2024-03-09: 24; 2024-04-09: 22 | 4 Out of 4
235 | 132KV GIS DAWAKI T/S_33KV FDR D6_PL_PL | DAWAKI | Hillside Estate, RockVilla Estate, Fulani Junction, Atabor Street, Saraplast Dawaki, Beside SCC Quarry, Rock Side Estate, Oganenugu Street, Trans-Engineering Estate | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
236 | 132KV KEFFI T/S_33KV SMART FDR_PL_PL | KEFFI | TONGYI,CSS Farm,NASSASSUPA, Snake Farm, Oil Mill, Rice Mill, RSIN. | 2024-01-09: 16; 2024-02-09: 15; 2024-03-09: 22; 2024-04-09: 24 | 2 Out of 4
237 | 132KV KONTAGORA T/S_33KV MASUGA FDR_PL_PL | KOTANGORA | Safara Plastic, Savana Fertilizer | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
238 | 132KV KONTAGORA T/S_33KV ARMY BARRACKS FDR_PL_PL | KOTANGORA | Army Barracks, Kontagora | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4
239 | 132KV LOKOJA T/S_33KV FDR 2_LOKOJA MAIN_FD 5 | LOKOJA | Star Time Communication and Grace FM Lokoja | 2024-01-09: 14; 2024-02-09: 21; 2024-03-09: 23; 2024-04-09: 23 | 3 Out of 4
240 | 132KV MINNA T/S_33KV POWER HOUSE FDR_POWER HOUSE_BANK FDR | MINNA | Fidelity Bank, GT Bank, Access Bank, News Line, Maizubi | 2024-01-09: 24; 2024-02-09: 24; 2024-03-09: 24; 2024-04-09: 24 | 4 Out of 4